## Sample list
Position | Run nr | Name | Purpose
B:F8 |  |  | system suitability--> solvent/column contaminents
B:F8 |  |  | system suitability--> solvent/column contaminents
B:F9 |  |  | m/z and chromatography check
B:F9 |  |  | m/z and chromatography check
Y:H4 |  | 22023_SG_Fredrik_QCPool_extractionblank_1
Y:H4 |  | 22023_SG_Fredrik_QCPool_extractionblank_2
Y:E4 | 1 | 22023_SG_Fredrik_QCPool_cond1 | system conditioning
Y:E4 | 2 | 22023_SG_Fredrik_QCPool_cond2 | system conditioning
Y:E4 | 3 | 22023_SG_Fredrik_QCPool_cond3 | system conditioning
Y:E4 | 4 | 22023_SG_Fredrik_QCPool_cond4 | system conditioning
Y:E4 | 5 | 22023_SG_Fredrik_QCPool_incl | inclusion list
Y:E4 | 6 | 22023_SG_Fredrik_QCPool ID1 | identification 1 (MS/MS)
Y:E4 | 7 | 22023_SG_Fredrik_QCPool ID2 | identification 2 (MS/MS)
Y:E4 | 8 | 22023_SG_Fredrik_QCPool ID3 | identification 3 (MS/MS)
Y:F4 | 9 | 22023_SG_Fredrik_QCPool_1 | QC
Y:F4 | 10 | 22023_SG_Fredrik_QCPool_2 | QC
Y:A1 | 11 | 22023_SG_Fredrik_biological sample 1
Y:B1 | 12 | 22023_SG_Fredrik_biological sample 2
Y:C1 | 13 | 22023_SG_Fredrik_biological sample 3
Y:D1 | 14 | 22023_SG_Fredrik_biological sample 4
Y:E1 | 15 | 22023_SG_Fredrik_biological sample 5
Y:F1 | 16 | 22023_SG_Fredrik_biological sample 6
Y:G1 | 17 | 22023_SG_Fredrik_biological sample 7
Y:F4 | 18 | 22023_SG_Fredrik_Qcpool_3 | QC
Y:H1 | 19 | 22023_SG_Fredrik_biological sample 8
Y:A2 | 20 | 22023_SG_Fredrik_biological sample 9
Y:B2 | 21 | 22023_SG_Fredrik_biological sample 10
Y:C2 | 22 | 22023_SG_Fredrik_biological sample 11
Y:D2 | 23 | 22023_SG_Fredrik_biological sample 12
Y:E2 | 24 | 22023_SG_Fredrik_biological sample 13
Y:F2 | 25 | 22023_SG_Fredrik_biological sample 14
Y:F4 | 26 | 22023_SG_Fredrik_Qcpool_4 | QC
Y:G2 | 27 | 22023_SG_Fredrik_biological sample 15
Y:H2 | 28 | 22023_SG_Fredrik_biological sample 16
Y:A3 | 29 | 22023_SG_Fredrik_biological sample 17
Y:B3 | 30 | 22023_SG_Fredrik_biological sample 18
Y:C3 | 31 | 22023_SG_Fredrik_biological sample 19
Y:D3 | 32 | 22023_SG_Fredrik_biological sample 20
Y:E3 | 33 | 22023_SG_Fredrik_biological sample 21
Y:F4 | 34 | 22023_SG_Fredrik_Qcpool_5 | QC
Y:F3 | 35 | 22023_SG_Fredrik_biological sample 22
Y:G3 | 36 | 22023_SG_Fredrik_biological sample 23
Y:H3 | 37 | 22023_SG_Fredrik_biological sample 24
Y:A4 | 38 | 22023_SG_Fredrik_biological sample 25
Y:B4 | 39 | 22023_SG_Fredrik_biological sample 26
Y:C4 | 40 | 22023_SG_Fredrik_biological sample 27
Y:D4 | 41 | 22023_SG_Fredrik_biological sample 28
Y:F4 | 42 | 22023_SG_Fredrik_Qcpool_6 | QC
Y:F4 | 43 | 22023_SG_Fredrik_Qcpool_7 | QC
B:F8 | 44 | 22023_SG_Fredrik_Blank_water_carryover | carry over
B:F9 | 45 | 22023_SG_Fredrik_system suitibility sample end | check performance changed during run
B:F8 | 46 | 22023_SG_Fredrik_Blank_water_end

## Checklist data check
Checklist data check
System suitability blank | x
Systems Suitability Control start and end | x RT 0.1 min later than normal in both first and last SS sample
Screenshots all EICs | x
Carry over | x
Check selected peaks
PCA | QC's on top of each other

## EICs
pooled QC
samples
Extraction blanks and carry over (first one is a sample)

## Manual check selected peaks
|  | RT lib | RT exp | dif | peak width (s)
phenylalanine | C9H11NO2 | 1.66 | 1.69 | 0.03 | 9
tryptophan | C11H12N2O2 | 2.29 | 2.47 | 0.18 | 9
isoleucine | C6H13NO2 | 1.35 | 1.4 | 0.05
|  |  |  | EIC |  | MS/MS exp | MS/MS library
phenylalanine
tryptophan
Isoleucine

## Filters
Data quality filters
total compounds (peak rating 5 in at least 5 files) | 2418
Background (water blank) is false | 2171 | 247 | filtered out
normalised area has any value in any file (min Qc cov 70%, max area RSD 30, max corrected QC area 25) | 1806
Peak rating is greater than or equal to 7 in at least 5 samples | 1148
Area (max) is greater then 10e6 | 932
Annotation
mzcloud all, including similarity match (#mzcloud results is greater than 0) | 618
mzcloud best match is greater then or equal to 55 | 140
mzvault | 35